## Slide 1: LED Board Technical Specifications - Overview
Conforms to IS16103 (Part 1 & 2): 2012

## Slide 2
Board Specifications
Input Voltage: 12V/24VDC/110AC
Reflective panel thickness: 9mm
Operating Temperature: 50°C to 60°C
LED Density: 220 LEDs per meter

## Slide 3
Frame Specifications
Material: Aluminium - IS 5082
Protection: Anodization, IP 20
Available Colors: Silver/Black

## Slide 4
LED Specifications
Color: Cool white
Average Lifespan: 30,000 hrs
Temperature Range: -50°C to 60°C
Luminous Efficiency: 6-7 lm/LED

## Slide 5
Electrical Specifications
Rated Current: 5 amps to 16 amps
Power Consumption: 20W/minute
Wiring: Direct connection to power supply for each light box. No series wiring.

## Slide 6
Installation Locations and Sizes
Coaching Depot Hyderabad: 4ft x 6ft (2 units, 48 sqft)
IOH Shed: 2ft x 6ft (1 unit, 12 sqft)
Layout: 4ft x 6ft (1 unit, 24 sqft)
Coach Care Center (SP-1): 2ft x 6ft (1 unit, 12 sqft)
Bio Lab: 2ft x 2ft (1 unit, 4 sqft)

## Slide 7
Sign-off and Verification
Digitally signed by Sureddy Srinivas
Date: 2025.03.05
Reason: IREPS-CRIS
Location: New Delhi

## Slide 8
title